## TU7 1H23
Technical Specifications: Tech Update
Servers & Storage (TU7, v7.0, H1 2023)
Summary of Spec Changes
Changes are indicated by yellow blocks in the tables below. Changes include:
1. Updated details on server items (cores, RAM, architectures)
2. Renamed Blade server categories
3. Expanded security requirements (TPM)
4. Updated storage & connectivity types
5. Updated Storage capacities
Changes to the Detail Spec are marked in BLUE in the accompanying Detail Spec.
Summary of Structural Changes
1. Added low-end/versatile storage array (Stor0)
2. Added Backup Software category
Servers
Tower & Rack servers1
| Srv1 | Srv2 | Srv3 | Srv4 | Srv5
Profile | Entry-level 1-socket server | Entry-level 2-socket server | Advanced 2-socket server | Advanced 4-socket server | Advanced 8-socket server
Architecture2 | 64-bit multi-core |  |  | 64-bit multi-core RAS pref | 64-bit multi-core RAS + partitioning
Cores/threads supported3 | 6 / 12 | 20 / 40 | 64 / 128 | 128 / 256 | 256 / 512
Memory | DDR-4, ECC pref | ECC DDR-4 | ECC DDR-4 ¦ SCM support
Min/Max RAM supported3 | 16 / 64GB | 32 / 256GB | 128GB / 2TB | 256GB / 4TB | 512GB / 8TB
Form factor | Tower / rack |  | Rack-mount
Primary storage3,4 | SATA, SSD, RAID, hot-swap pref |  | SAS/SSD, RAID, NVMe, Hot-swap
Connectivity + I/O | 1x GigE, PCIe4, 6Gb SATA, USB3 | 2x GigE, PCIe4, 12Gb SAS, USB3 | 4x GigE, 10GE support, PCIe4, 12Gb SAS, USB3
PSU & Cooling | Non-redundant | Redundant pref | N+1 hot-swap
Management | Web interface, SMASH, IPMI
Security | TPM support |  | TPM
Power efficiency | Energy Star
OS compatibility | Windows, Linux, pref hypervisor | Windows, Linux, Mainstream hypervisors
Support SLA | 5-year on-site, 4-hour response, NBD fix
Blade servers
| Srv_BlC | Srv_Bl1 | Srv_Bl2
Profile | Blade server chassis | 2-socket blade server | 4-socket blade server
Architecture1 | - | 64-bit multi-core
Max cores/threads supported2 | - | 64 / 128 | 128 / 256
Memory | - | ECC DDR-4 ¦ SCM support
Min/Max RAM supported2 |  | 128GB / 2TB | 256GB / 4TB
Primary storage2,3 | - | SAS/SSD, RAID, NVMe, Hot-swap
Connectivity | GigE, 10GE, FC, 40GE pref, IB pref | 4x GigE, 10GE support, PCIe3
Power + cooling | N+N, 90% eff. | -
Management | Web interface, SMASH, IPMI
Security | TPM support
Power efficiency | Energy Star
High-eff. PS | Yes | -
OS compatibility | - | Windows, Linux, Mainstream hypervisors
Support SLA | 5-year on-site, 4-hour response, NBD fix
Primary storage
Direct-attached storage (DAS)
| Stor0 | Stor1 | Stor2
Profile | Basic storage array | Direct-attached storage (DAS) array | Intelligent direct-attached storage (DAS) array
Host connectivity | 6Gb SATA / GigE / USB3 | 12Gb SAS | 12Gb SAS / FC
Availability | Hot-swap disk pref; Hardware RAID pref | Hot-swap disk, PS (pref), fans (pref); Hardware RAID support | Hot-swap disk, PS, fans; Hardware RAID
Drive types | SATA | SAS, NL-SAS, SSD
Power & cooling | Non-redundant |  | N + 1
OS compatibility | Mainstream hosts | All mainstream host types and hypervisors
Support SLA | 3-year on-site, 4-hour response, NBD fix | 5-year on-site, 4-hour response, NBD fix
Intelligent shared storage
| Stor3 | Stor4 | Stor5 | Stor6
Profile | Entry-level intelligent shared storage array | Midrange intelligent shared storage array | Advanced intelligent shared storage array | Intelligent shared storage controller/front end
Fabrics supported1 | GigE / 10+GE / FC / FCoE / IB
Protocols | CIFS / NFS / iSCSI / FC | CIFS / NFS / iSCSI / NVMEoF / FC
Availability | Hot-swap disk, PS (pref), fans (pref), controller (pref) | Hot-swap disk, PS, fans, controller
Drive types | SAS, NL-SAS, SSD, pref PCIe-flash | SAS, NL-SAS, SSD, pref NVMe |  | -
Power & cooling | N + 1
Management | Web, CLI, SNMP
OS compatibility | All mainstream host types and hypervisors
Support SLA | 5-year on-site, 4-hour response, NBD fix
Secondary storage
Disk Backup Solutions
| DtD1 | DtD2 | DtD3
Profile | Entry-level disk-to-disk backup solution | Midrange disk-to-disk backup solution | Advanced disk-to-disk backup solution
Base usable capacity1 | 20TB | 40TB | 80TB
Storage protocols | CIFS/NFS/NDMP, VTL pref
Connectivity | Ethernet / FC / iSCSI
Availability | Hot-swap disk, PS, fans, controller (pref) |  | Hot-swap disk, Controller, PS, Fans
OS & software certification | Major OS, hypervisors & backup ISVs
Support SLA | 5-year on-site, 4-hour response, NBD fix
Tape automation
| Lib1 | Lib2 | Lib3
Profile | Entry-level tape library/autoloader | Midrange tape library | Advanced tape library
Media capacity | 6TB native (LTO7) | 12TB native (LTO8) | 12TB native (LTO8)
Drives (std/upgr) | 1 | 1 - 4 | 1 - 8
Entry slots | 8 | 30 | 60
Availability | Hot-swap PS & cooling pref |  | Hot-swap drives, PS, cooling, pref controller
Compatibility | Major OS & backup ISVs ¦ LTFS
Support SLA | 5-year on-site, 4-hour response, NBD fix
Backup software
| SW_BU1 | SW_BU2
Item name | Basic backup software | Advanced backup software
Functionality | Various backup methods, Scheduling, Tape + Disk support
Standards | Major OSes + Hypervisors NDMP, LTFS
Support SLA | 5-year on-site
System Management
Mgmt
Item name | System management tools
Standards | SNMP, SMTP, HTTPS, LDAP
Devices/systems | Srv, Stor, UPS, Network, Infrastructure
Support SLA | 5 years
Date: 2023-02-22
Items: 24
Notes/Conditions
1. This Tech Update is to be implemented by H1 2023, and will remain in force until superseded by the next version.
2. Products are certified against the Detail Spec: Srv&Stor, not this document. Make sure that the correct version of the detail spec is used for certifications and proposals (the spec header will indicate revision and TU).
3. This document addresses the high-level specs, but it does not contain the detail requirements, or upgrades and accessories. These can be found in the Detail Spec (see above).
4. Once these changes are implemented, the new baseline standard becomes mandatory, and all new products must comply.
5. As per the Technology Certification Process, all OEMs are required to participate in the TU RFC process: non-response will be interpreted as agreeing with the proposed changes.
6. These specs are minimum requirements, therefore any proposal/capability that equals or improves on the stated requirement will be acceptable.
7. "Pref/Preferred" indicates a non-mandatory requirement, or possible future direction.
Notes:
1 Systems must be based on the latest AMD, Intel or equivalent architecture.
2 Systems must support at least the specified maximum configuration. Optimal CPU, memory and storage configuration must be determined by client business requirements.
3 RAID is only required in the base unit if system supports sufficient internal storage.
Notes:
1 Hyperconverged and high-density (4-in-1) rack systems will be certified as part of this category
2 Systems must be based on the latest AMD, Intel or equivalent architecture.
3 Systems must support at least the specified maximum configuration. Optimal CPU, memory and storage configuration will be determined by per-project business requirements.
4 RAID is only required in the base unit if system supports sufficient internal storage.
Notes:
1 Any of these fabrics or equivalent/improved alternatives will be accepted.
Notes:
1 Capacity before compression or deduplication